## Slide 1: Sistema de observación meteorológica y oceánica como herramienta para el fomento de la resiliencia y adaptación al cambio climático en el espacio de cooperación (MAC-CLIMA)
(MAC2/3.5b/254)
Presentación del trabajo realizado y resultados finales
Agência Regional para o Desenvolvimento da
Investigação, Tecnologia e Inovação – ARDITI
JORNADA DE CLAUSURA
13 DICIEMBRE 2023
Infecar, Gran Canaria
EL 85% DEL PROYECTO ESTÁ COFINANCIADO POR FONDOS FEDER

## Slide 2: INDEX
Installation
01
Modus Operandi
02
Numerical Model
03
04
Developed Tools

## Slide 3
Installation
01

## Slide 4: Installation
1,757,54,28€
36
12
The “WindCube 100S” LIDAR is installed by IPMA in a strategic location inside the airport and in operation since December 2020.
The current location allow measure wind flow from the mountains and extreme events that occurs frequently that limit the airport operation.

## Slide 5: Installation
1,757,54,28€
36
12
Sonic Sensors are installed on the IPMA masts at the airport surround area. The purpose is to:
Understand mountainous wind flow;
Complement and compare the LIDAR data;
Validate numerical models with the support of the LIDAR and sonic sensors.

## Slide 6: Installation
1,757,54,28€
36
12
Radiosounding was acquired and a mobile framework is set to facilitate the balon’s release in multiple location around airport area.

## Slide 7
Modus Operandi
02

## Slide 8: Modus Operandi
1,757,54,28€
36
12
The LIDAR was built on a well-established framework between IPMA and ARDITI.
IPMA is managing the LIDAR connection through their internal network and ARDITI configure the settings and store all the data.
Data is being collected since May of 2021 without interruptions.

## Slide 9: Modus Operandi
1,757,54,28€
36
12
Each mast has 3 sensors (10, 20 and 30 meters). Sensors temporal resolution output is 2 minutes.
Output variables are:
Wind speed;
Wind direction;
Each variable has the following metrics:
Mean;
Maximum value;
Minimum value;
Wind gust direction.

## Slide 10
Developed Tools
03

## Slide 11: Developed Tools
1,757,54,28€
36
12
LIDAR data pre-processing facilitates the mapping of the radial wind data into a regular grid allowing the model validation and better interpretation.
Scripts to georeferenced, interpolate and transform radial into a regular mesh;
Scripts to transform obtained LIDAR data into a simpler to read format.

## Slide 12: Developed Tools
1,757,54,28€
36
12
Scripts to transform obtained raw sonic anemometers measured data into a simpler to read format and interpretation.
This allow us to interpret long time series and analyze historical data.

## Slide 13: Developed Tools
1,757,54,28€
36
12
Scripts to transform obtained raw radiosounding measured data into a simpler to read format and interpretation. Allow to interpret atmospheric profiles and its characteristics.

## Slide 14
Numerical Model
04

## Slide 15: Numerical Model
1,757,54,28€
36
12
Study the wind flow and its phenomenon over the airport and the approximation areas by airplane, e and help identify susceptible areas with turbulence and wind shear.
Study sea-breeze cycles and its interactions with the valleys and mountainous regions.
The use of LIDAR, sonic sensors and radiosoundings data to validate the numerical models make possible to have a reliable operational tool.

## Slide 16: Numerical Model
1,757,54,28€
36
12
First model tests had good performance but not on the level we looking for. In order to improve model accuracy, we are working with Hannover University (who developed this model) to get the maximum accuracy of the model.
Computing power and Madeira complex orography are the main challenges to reach the optimal accuracy.

## Slide 17: Numerical Model
1,757,54,28€
36
12
At the present time we are fine tunning the PALM model with the help of Hannover university, the PALM model creators.
The purpose of this step is to get the best setup that fits Madeira characteristics like the very complex topography and downscale up to a very high resolution model ~2m resolution and increase model performance and statistical validation.

## Slide 18: Numerical Model
1,757,54,28€
36
12
Increase last mesoscale domain area
Increase PALM first domain area
Created 3 domain setup
  Domain 1: 50 m
  Domain 2: 10m
  Domain 3: 2m

## Slide 19: Next steps
1,757,54,28€
36
12
Finish PALM the final simulation tests;
Compare with measurements and Analyze PALM statistical validation;
Re-simulate the north and south case studies;
Write a paper about the wind flow and its phenomenon over the airport for north and south wind cases.

## Slide 20
Gracias
Obrigado
Merci Beaucoup
THANK YOU